## Instructions
Using this Calculator
This calculator will produce a table of aliquot volume values, a hydrograph, and, if pollutant data is provided, pollutograph(s) for the given data set of flow rate measurements and sample timestamps of a single storm event.
1. Download the Excel template file and overwrite it with your data. See the Data Requirements section below.
NOTE: a 'download.htm' file may be downloaded instead of the template Excel file if the link is clicked too soon after launching the application. This is a known issue with the 'shiny' R package which was used to develop this application. Please allow a few minutes before downloading the template.
2. Upload your data by clicking the 'Browse' button, selecting the updated Excel spreadsheet, and clicking the 'Submit' button. The calculator will generate the aliquot volume table as well as the hydrograph and pollutograph(s), depending on the uploaded data.
If pollutant data is provided, the calculator will also provide the Event Mean Concentration for each of the specified pollutants.
3. Use the 'Start Date/Time' and 'End Date/Time' inputs to filter the data to the appropriate time range. The grayed-out sections of the graph will not be included in the aliquot volume and event mean concentration calculations.
4. After changing the 'Start Date/Time' and 'End Date/Time' inputs, click the 'Draw Graph(s)' button to regenerate the aliquot volume table, hydrograph, and pollutograph(s), filtered to the provided times.
5. The 'Composite Vol.' input is used in the aliquot volume calculation such that the sum of the aliquot volumes will be equal to the composite volume value entered here, measured in mL. The minimum and maximum supported values are 500 mL and 10,000 mL, respectively.
6. The 'Flow Units of Submitted Data' input is used to label and calculate the 'Total Hydrograph Volume' output. This input does not function as a unit conversion.
7. Use the 'Reload App' button to submit a new data set.
Data Requirements
The uploaded Excel spreadsheet must conform to the following requirements:
* Must contain data for exactly one storm event.
* Must contain exactly three sheets, in the following order:
- Instructions: instructions for using the calculator
- Sheet 1: flow rate measurement data
- Sheet 2: sample collection timestamps and pollutant measurement data (where applicable)
* The flow rate measurement data sheet (Sheet 1) must have exactly two columns:
- Col 1: timestamps in 'mm/dd/yy hh:mm:ss' format. Date and time must be provided.
* The 'Datetime' column in the provided template file is already in the correct format.
- Col 2: flow rate measurements. Flow rates must be entered as L/s, gpm, or cfs.
* The sample collection timestamps and pollutant measurement sheet (Sheet 2) may have any number of columns:
- Col 1: timestamps when water quality samples were collected in 'mm/dd/yy hh:mm:ss' format. Date and time must be provided.
* The 'Datetime' column in the provided template file is already in the correct format.
- Col 2...n: pollutant concentrations, if/where available
- Any number of pollutant columns in the second sheet are supported.
- If you do not have pollutant data, delete the 'Pollutant' columns entirely before uploading the template. Do not delete Sheet 2.
* The column headers are required and can be renamed as needed, but cannot be exclusively numeric characters [0-9].
* All flow rate and pollutant measurements must be greater than or equal to zero.
* There may not be any missing values in the spreadsheet.

## Sheet1
Datetime | Flow (L/s)
2009-06-12 09:32 | 0
2009-06-12 09:34 | 0
2009-06-12 09:36 | 0.018186
2009-06-12 09:38 | 0.063651
2009-06-12 09:40 | 0.14549
2009-06-12 09:42 | 0.26483
2009-06-12 09:44 | 0.32962
2009-06-12 09:46 | 0.28529
2009-06-12 09:48 | 0.28302
2009-06-12 09:50 | 0.391
2009-06-12 09:52 | 0.48307
2009-06-12 09:54 | 0.42851
2009-06-12 09:56 | 0.30916
2009-06-12 09:58 | 0.17731
2009-06-12 10:00 | 0.11139
2009-06-12 10:02 | 0.067061
2009-06-12 10:04 | 0.042055
2009-06-12 10:06 | 0.025006
2009-06-12 10:08 | 0.015913
2009-06-12 10:10 | 0.19095
2009-06-12 10:12 | 0.77405
2009-06-12 10:14 | 1.4231
2009-06-12 10:16 | 1.5992
2009-06-12 10:18 | 1.3151
2009-06-12 10:20 | 0.85816
2009-06-12 10:22 | 0.51148
2009-06-12 10:24 | 0.31485
2009-06-12 10:26 | 0.19323
2009-06-12 10:28 | 0.11821
2009-06-12 10:30 | 0.072744
2009-06-12 10:32 | 0.045465
2009-06-12 10:34 | 0.027279
2009-06-12 10:36 | 0.017049
2009-06-12 10:38 | 0.01023
2009-06-12 10:40 | 0.0056832
2009-06-12 10:42 | 0.0011366
2009-06-12 10:44 | 0
2009-06-12 10:46 | 0
2009-06-12 10:48 | 0
2009-06-12 10:50 | 0
2009-06-12 10:52 | 0.15117
2009-06-12 10:54 | 0.5274
2009-06-12 10:56 | 0.78996
2009-06-12 10:58 | 0.74222
2009-06-12 11:00 | 0.54331
2009-06-12 11:02 | 0.47738
2009-06-12 11:04 | 0.77177
2009-06-12 11:06 | 0.98318
2009-06-12 11:08 | 1.0662
2009-06-12 11:10 | 1.2605
2009-06-12 11:12 | 1.3014
2009-06-12 11:14 | 1.2958
2009-06-12 11:16 | 1.4401
2009-06-12 11:18 | 1.4458
2009-06-12 11:20 | 1.2139
2009-06-12 11:22 | 0.85134
2009-06-12 11:24 | 0.49557
2009-06-12 11:26 | 0.50807
2009-06-12 11:28 | 0.88316
2009-06-12 11:30 | 1.1605
2009-06-12 11:32 | 1.0502
2009-06-12 11:34 | 0.76041
2009-06-12 11:36 | 0.64674
2009-06-12 11:38 | 1.0002
2009-06-12 11:40 | 1.2548
2009-06-12 11:42 | 1.3458
2009-06-12 11:44 | 1.5663
2009-06-12 11:46 | 1.8266
2009-06-12 11:48 | 2.1391
2009-06-12 11:50 | 2.1278
2009-06-12 11:52 | 1.6583
2009-06-12 11:54 | 1.3833
2009-06-12 11:56 | 1.4765
2009-06-12 11:58 | 1.8641
2009-06-12 12:00 | 2.213
2009-06-12 12:02 | 2.2278
2009-06-12 12:04 | 1.7356
2009-06-12 12:06 | 1.4515
2009-06-12 12:08 | 1.547
2009-06-12 12:10 | 1.9561
2009-06-12 12:12 | 2.3176
2009-06-12 12:14 | 2.5836
2009-06-12 12:16 | 2.6927
2009-06-12 12:18 | 2.8382
2009-06-12 12:20 | 2.8677
2009-06-12 12:22 | 2.9689
2009-06-12 12:24 | 2.9632
2009-06-12 12:26 | 2.7802
2009-06-12 12:28 | 2.3699
2009-06-12 12:30 | 2.3721
2009-06-12 12:32 | 2.496
2009-06-12 12:34 | 2.7597
2009-06-12 12:36 | 2.9359
2009-06-12 12:38 | 3.2724
2009-06-12 12:40 | 3.7861
2009-06-12 12:42 | 3.8634
2009-06-12 12:44 | 4.0714
2009-06-12 12:46 | 4.2624
2009-06-12 12:48 | 4.1987
2009-06-12 12:50 | 4.2999
2009-06-12 12:52 | 4.9171
2009-06-12 12:54 | 5.9912
2009-06-12 12:56 | 6.913
2009-06-12 12:58 | 7.1903
2009-06-12 13:00 | 7.1699
2009-06-12 13:02 | 7.0301
2009-06-12 13:04 | 7.1926
2009-06-12 13:06 | 7.8655
2009-06-12 13:08 | 8.7134
2009-06-12 13:10 | 9.0169
2009-06-12 13:12 | 8.4179
2009-06-12 13:14 | 7.1267
2009-06-12 13:16 | 5.8627
2009-06-12 13:18 | 4.667
2009-06-12 13:20 | 3.6395
2009-06-12 13:22 | 3.278
2009-06-12 13:24 | 2.8973
2009-06-12 13:26 | 2.3005
2009-06-12 13:28 | 1.8823
2009-06-12 13:30 | 1.9846
2009-06-12 13:32 | 2.1585
2009-06-12 13:34 | 2.1414
2009-06-12 13:36 | 2.3596
2009-06-12 13:38 | 2.3392
2009-06-12 13:40 | 1.9607
2009-06-12 13:42 | 1.6788
2009-06-12 13:44 | 1.8641
2009-06-12 13:46 | 2.3994
2009-06-12 13:48 | 2.87
2009-06-12 13:50 | 2.8848
2009-06-12 13:52 | 2.2437
2009-06-12 13:54 | 1.8709
2009-06-12 13:56 | 1.9811
2009-06-12 13:58 | 2.4824
2009-06-12 14:00 | 2.9211
2009-06-12 14:02 | 3.236
2009-06-12 14:04 | 3.3462
2009-06-12 14:06 | 3.1917
2009-06-12 14:08 | 2.745
2009-06-12 14:10 | 2.7609
2009-06-12 14:12 | 2.5961
2009-06-12 14:14 | 2.1312
2009-06-12 14:16 | 1.7879
2009-06-12 14:18 | 1.9448
2009-06-12 14:20 | 2.1551
2009-06-12 14:22 | 1.8482
2009-06-12 14:24 | 1.3139
2009-06-12 14:26 | 0.757
2009-06-12 14:28 | 0.47284
2009-06-12 14:30 | 0.28302
2009-06-12 14:32 | 0.17504
2009-06-12 14:34 | 0.10343
2009-06-12 14:36 | 0.065925
2009-06-12 14:38 | 0.037509
2009-06-12 14:40 | 0.021596
2009-06-12 14:42 | 0.01364
2009-06-12 14:44 | 0.0079564
2009-06-12 14:46 | 0.0034099
2009-06-12 14:48 | 0
2009-06-12 14:50 | 0
2009-06-12 14:52 | 0
2009-06-12 14:54 | 0
2009-06-12 14:56 | 0
2009-06-12 14:58 | 0

## Sheet2
Datetime | TSS (mg/L)
2009-06-12 12:48 | 223
2009-06-12 12:54 | 42
2009-06-12 13:00 | 40
2009-06-12 13:06 | 62
2009-06-12 13:16 | 56
2009-06-12 13:26 | 55
2009-06-12 14:06 | 119